CyTOF Surface Phenotyping

protocol type: assay @

Project: CyTOF Phenotyping for Study 15-2011

Laboratory: Human Immune Monitoring Center, for Mark M. Davis U19

# Document history

Add a row when creating a new doc or making meaningful modifications:

| Date | What | Who |
| --- | --- | --- |
| 2/7/2013 | V1.0: doc created | Michael D. Leipold |

# Contents

1.	Document history	1

2.	Contents	1

3.	Variables	2

4.	Reagents	2

5.	Major equipment and software	2

6.	Experimental groups and controls	2

7.	Major step 1	2

8.	Major step 2	3

NOTES	3

9.	References	3

10.	Example protocol	4

11.	Help	4

# Variables

Please list the crucial conditional (aka, “independent) and response (aka, “dependent”) variables:

Conditional variable: Factor that modifies the effect of the putative causal factor(s) being investigated

Response variable:  The variable that you measure, namely, the instrument readout

| Variable Type | Variable Name |
| --- | --- |
| Conditional @ | Measuring levels of surface-expressed immune markers with antibodies to those markers |
| Response @ | Metal isotope signal from metal-tagged antibodies that bound to the cells assayed |

# Reagents

List all reagents used in this protocol. You MUST include the catalog number if it exists.

| Name | Source | Catalog Number | Lot Number |
| --- | --- | --- | --- |
| PBS | Rockland | MB-008 | multiple |
| EDTA | Hoefer | GR123-100 | multiple |
| Bovine Serum Albumin | Sigma | A7284 | multiple |
| 16% paraformaldehyde | Electron Microscopy Sciences | 15710 | multiple |
| Permeabilization buffer | eBiosciences | 00-8333-56 | multiple |
| Antibody Stabilizer buffer-PBS | Boca Scientific | 131 050 | multiple |
| DOTA-maleimide | Macrocyclics | B-272 | multiple |
| CD19 antibody-unconjugated | Southern Biotech clone SJ25-C1 | 9340-01 | multiple |
| CD4 antibody-unconjugated | BIolegend clone SK3 | 344602 | multiple |
| CD8 antibody-unconjugated | Biolegend clone SK1 | 344702 | multiple |
| IgD antibody-unconjugated | Biolegend Ia6-2 | 555776 | multiple |
| CD85j antibody-unconjugated | R&D Systems clone 292319 | MAB20172 | multiple |
| CD16 antibody-unconjugated | Biolegend clone 3G8 | 302002 | multiple |
| CD3 antibody-unconjugated | BD clone UCHT1 | 555330 | multiple |
| CD38 antibody-unconjugated | BD clone HB-7 | special order | multiple |
| CD27 antibody-unconjugated | BD clone L128 | special order | multiple |
| CD14 antibody-unconjugated | Biolegend clone M5E2 | 301802 | multiple |
| CD94 antibody-unconjugated | BD clone HP-3D9 | 555887 | multiple |
| CCR7 antibody-unconjugated | R&D Systems clone 150503 | MAB197 | multiple |
| CD45RA antibody-unconjugated | Biolegend clone HI100 | 304102 | multiple |
| CD20 antibody-unconjugated | Biolegend clone 2H7 | 302302 | multiple |
| CD127 antibody-unconjugated | Biolegend clone A019D5 | 351302 | multiple |
| CD33 antibody-unconjugated | Santa Cruz Biotechnologies clone P67.6 | special order | multiple |
| CD28 antibody-unconjugated | BD clone L293 | 340975 | multiple |
| CD24 antibody-unconjugated | Biolegend clone ML5 | 555426 | multiple |
| CD161 antibody-unconjugated | BD clone DX12 | 556079 | multiple |
| TCRgd antibody-unconjugated | Biolegend clone B1 | 331202 | multiple |
| CD56 antibody-unconjugated | BD clone NCAM16.2 | 559043 | multiple |
| HLADR antibody-unconjugated | BD clone G46-6 | 555810 | multiple |
| CD25 antibody-unconjugated | BD clone M-A251 | 555430 | multiple |
| Nd142 DN3 MAXPAR kit | DVS Sciences | 201142C | multiple |
| Nd143 DN3 MAXPAR kit | DVS Sciences | 201143C | multiple |
| Nd144 DN3 MAXPAR kit | DVS Sciences | 201144C | multiple |
| Nd146 DN3 MAXPAR kit | DVS Sciences | 201146C | multiple |
| Nd150 DN3 MAXPAR kit | DVS Sciences | 201150C | multiple |
| Sm147 DN3 MAXPAR kit | DVS Sciences | 201147C | multiple |
| Sm149 DN3 MAXPAR kit | DVS Sciences | 201149C | multiple |
| Eu151 DN3 MAXPAR kit | DVS Sciences | 201151C | multiple |
| Sm152 DN3 MAXPAR kit | DVS Sciences | 201152C | multiple |
| Sm154 DN3 MAXPAR kit | DVS Sciences | 201154C | multiple |
| Gd156 DN3 MAXPAR kit | DVS Sciences | 201156C | multiple |
| Gd160 DN3 MAXPAR kit | DVS Sciences | 201160C | multiple |
| Dy162 DN3 MAXPAR kit | DVS Sciences | 201162C | multiple |
| Dy164 DN3 MAXPAR kit | DVS Sciences | 201164C | multiple |
| Er166 DN3 MAXPAR kit | DVS Sciences | 201166C | multiple |
| Er167 DN3 MAXPAR kit | DVS Sciences | 201167C | multiple |
| Er168 DN3 MAXPAR kit | DVS Sciences | 201168C | multiple |
| Er170 DN3 MAXPAR kit | DVS Sciences | 201170C | multiple |
| Yb171 DN3 MAXPAR kit | DVS Sciences | 201171C | multiple |
| Yb174 DN3 MAXPAR kit | DVS Sciences | 201174C | multiple |
| Yb176 DN3 MAXPAR kit | DVS Sciences | 201176C | multiple |
| Iridium intercalator | DVS Sciences | 201192B | multiple |
| Lutetium (III) chloride | Aldrich | 298131 | 10625HH |
| Holmium (III) chloride | Aldrich | 289213 | 06902JJV |
| Indium (III) chloride | Aldrich | 203440 | MKBD2725V |
| CyPBS | in house; dilution of Rockland PBS stock to 1x with MilliQ water | n/a | n/a |
| CyFACS | in house; combined dilution of Rockland PBS to 1x; Hoefer EDTA to 2 mM; and Sigma BSA to 0.1% with MilliQ water | n/a | n/a |
| Indium-DOTA-maleimide | in house | n/a | n/a |
| CD19-Nd142 | in house | n/a | n/a |
| CD4-Nd143 | in house | n/a | n/a |
| CD8-Nd144 | in house | n/a | n/a |
| IgD-Nd146 | in house | n/a | n/a |
| CD85j-Sm147 | in house | n/a | n/a |
| CD16-Sm149 | in house | n/a | n/a |
| CD3-Nd150 | in house | n/a | n/a |
| CD38-Eu151 | in house | n/a | n/a |
| CD27-Sm152 | in house | n/a | n/a |
| CD14-Sm154 | in house | n/a | n/a |
| CD94-Gd156 | in house | n/a | n/a |
| CCR7-Gd160 | in house | n/a | n/a |
| CD45RA-Dy162 | in house | n/a | n/a |
| CD20-Dy164 | in house | n/a | n/a |
| CD127-Ho165 | in house | n/a | n/a |
| CD33-Er166 | in house | n/a | n/a |
| CD28-Er167 | in house | n/a | n/a |
| CD24-Er168 | in house | n/a | n/a |
| CD161-Er170 | in house | n/a | n/a |
| TCRgd-Yb171 | in house | n/a | n/a |
| CD56-Yb174 | in house | n/a | n/a |
| HLADR-Lu175 | in house | n/a | n/a |
| CD25-Yb176 | in house | n/a | n/a |

# Major equipment and software

Example major equipment: analytical instrument, e.g., FACS machine

| Name | Source | Catalog Number | Software and Version |
| --- | --- | --- | --- |
| CyTOF mass cytometer-equipment | DVS Sciences |  |  |
| FlowJo-software | Treestar |  | Mac v. 9.4.9 |

PROTOCOL STEPS

# Experimental groups and controls

Examples:	- Naïve201: sample#201; PBMCs in media only, no cytokine stimulation

- Stim201: sample #201; PBMCs + IL-12

| Name | Description | Control (Y/N) |
| --- | --- | --- |
| 885 | Control cryopreserved PBMCs; young healthy donor LRS chamber from Stanford Blood Center; thawed and counted but not rested or stimulated | Y |
| Study sample - 15XXX format | Cryopreserved PBMCs; thawed and counted but not rested or stimulated | N |

Below are the actual protocol steps:

# Staining protocolUse “Heading 1” style.

- Plate 1 million viable cells per well (as measured by dye exclusion method such as Vicell).

- Wash 1x in 500 L CyFACS buffer (flick plate or aspirate to remove supernatant).

- Make Ab cocktail in CyFACS buffer (Filter with 0.1 μm spin filter).

- Resupend cells in 50 μl filtered Ab cocktail.

- Incubate 60 min on ice.

- Add 500 L CyFACS; centrifuge to pellet.

- Resuspend in 500 L CyFACS; centrifuge to pellet.

- Resuspend cells in 100 l of 1:3000 diluted Indium-DOTA maleimide in CyPBS.

- Incubate 30 min on ice.

- Add 500 L CyFACS; centrifuge to pellet.

- Resuspend in 500 L CyFACS; centrifuge to pellet.

- Resuspend in 100 μl of 2% PFA in CyPBS (see Note 5 and Note 6).

- Incubate 4°C overnight.

- Resuspend in eBioscience perm buffer (1x in CyPBS).

- Incubate on ice for 45 min.

- Add 500 L CyFACS; centrifuge to pellet.

- Resuspend in 500 L CyFACS; centrifuge to pellet.

- Resuspend in 1x Ir-Interchelator in CyPBS.

- Incubate 20 min at room temp.

- Resuspend in 500L CyFACS; centrifuge to pellet.

- Resuspend in 500L MilliQ water; centrifuge to pellet (See Note 1).

- Resuspend in 500 L MilliQ water; centrifuge to pellet.

- Resuspend in 1 mL MilliQ water.

- Filter through a 25 m cell strainer prior to running on the mass cytometer.

# Sample acquisition and analysis protocol

- Start the machine.  Warm up and tune as in Ref [1].

- Acquire data as in Ref [13].  The length of the run will be dependent upon the volume of your sample:  dilution with MilliQ water to ~1 million cells/mL is recommended for minimizing doublets as well as maximizing sample throughput.

- Analyze data using third-party flow analysis software such as FlowJo (Treestar) or Cytobank (see Note 11 and Figure 1).  Note that some display settings may need to be altered for proper viewing of mass cytometer data.

### NOTES

Use “Heading 3” to list notes

- Washes and final resuspension in MilliQ water are required to avoid the buildup of buffer salts in he machine, which can adversely affect the machine tuning

# References

1.  Leipold, M. D., Maecker, H. T. Mass Cytometry: Protocol for Daily Tuning and Running Cell Samples on a CyTOF Mass Cytometer. J. Vis. Exp. (69), e4398, doi:10.3791/4398 (2012).